## Technical Specs
G/ONB/1303WS-21/2026: Technical Specifications
Item No | Technical Specification Required | Manufacturer | Country | Delivery period (in weeks) | Compliance of Specification Offered Indicate comply/not comply | Details of Non- Compliance/ Deviation (if applicable)
INTERMEDIATE HOSPITAL KATUTURA CLINICAL ITEMS
1. | 3.5mm Cortex Screws, Self-Tapping L12
2. | 3.5mm Cortex Screws, Self-Tapping L14
3. | 3.5mm Cortex Screws, Self-Tapping L16
4. | 3.5mm Cortex Screws, Self-Tapping L18
5. | DCP Small Plate, 3.5mm 6 holes
6. | DCP Small Plate , 3.5mm 8 holes
7. | DCP Small Plate, 3.5mm 10holes
8. | Kirschner Wires, both sides trocar tip dia.1.6mm Length 160mm
9. | Kirschner Wires , both sides trocar tip, dia 2.0mm, length 160mm
10. | Kirschner Wire , both sides trocar tip, dia.1.6mm Length 310mm
11. | Kirschner Wire , both sides trocar tip, dia 2.0mm Length 310mm
12. | Washers ( for 3.5mm screws)
13. | Washers ( for 4.0mm screws)
14. | Hohmann Retractor narrow tip 27.5cmx10 mm 7/8
15. | Hohmann Retractor narrow tip 21.5cmx8 mm 4/8
16. | DHS/DCS Impactor for one-step insertion technique, length 260mm
17. | Suction Unit Portable Hand
18. | Disposable Vaginal Specullum ,Small
19. | Disposable Vaginal Specullum ,Medium
20. | Disposable Vaginal Specullum , Large
21. | Cleaning hard nylon Blushes small 270x65x8mm 10/pack
22. | Cleaning hard nylon Blushes 210x95mm 10/pack
23. | Cotton Pipe Cleaner 27cm, Autoclavable 100/pack
24. | UBT-2 Ellavi Uterine Balloon Tamponade (25/pack)
25. | Hip Drape Pockets 290x320 6ѕ
26. | Lower Extremity Drape Reinforced 245x320 (10x7)
27. | Brownes TST Strips 134°c 3.5MI 100/Box
28. | Brownes TST Bowie Dick Test pack 20's
29. | Disposable Surgical Sterile Gowns size: Large
30. | ICD Drain Bottles Paediatric
31. | Sensomedics Cap & Diaphragm Sensomedics Oscillator
32. | Infant ventilator circuit (>4L/min) single heated with MR 290 auto feed chamber 10/b
33. | Neonatal CPAP Humidification 10/box
34. | Infant Flow LP CPAP Generator Set
35. | Infant Flow LP Nasal Mask- Small
36. | Adult Dead Space 25ml, adjustable
37. | Paediatric Dead Space 13ml , adjustable
38. | Medical Suction Vacuum Bottle 2000ml
39. | Medical Suction Vacuum Bottle 1500ml
40. | XL 200 Chest Drain Paediatric Sinapi
41. | XL 1000S-01 Chest Drain Long Tube Sinapi 1000ml
42. | Nasal Oxygen Cannula Paediatric
43. | Nasal Oxygen Cannula Neonatal, soft tip
44. | Doyen Retractors, 53x80mm,25cm
45. | Forceps Artery Criles Curved 16 cm
46. | Forceps Artery Rochester Pean Curved 18.5cm
47. | Forceps Artery Mosquito Strait 12.5cm
48. | Forceps Artery Mosquito curved 12.5cm
49. | Forceps Artery Rochester Pean Straight 18.5cm
50. | Mayo Scissors Straight 17cm T.C
51. | Mayo Scissors Curved 17cm T.C
52. | Gillies Dissecting Forceps 1x2 teeth 15cm
53. | Dissecting Forceps Atraugrip 18cm
54. | Retractor Langenbeck 20x60mm
55. | Gillies Dissecting Forceps 1x2 teeth 15cm
56. | Drake Depressor Skull Elevator 30cm
57. | Dural Hook Cairns Sharp 12.5cm
58. | Potts Aorta Clamps length 50mm, jaw length 23mm weight 1.5 gr
59. | Potts Aorta Clamps length 40mm, jaw length 14mm weight 1 gr
60. | Forester Sponge Holding Forceps 25cm straight
61. | Gillies Skin Hook sharp tip 17cm
62. | Cairns Giggle Saw Guide 32cm
63. | Retractor Kilner Cats paw double ended 15cm
64. | BALFOUR Abdominal Retractor, complete retractor,250mm, windth:200mm, opening width,255mm, side blades: lateral 105mm, center blade107x59mm
65. | Bone Levers Tretchowans
66. | Retractor Morris 70x40mm
67. | Retractor Morris 70x50mm
68. | Obstetric Forceps Wrighley 1/3, 250mm, 10"
69. | Mouth Gag Fergusson-Ackland Adult
70. | Yasargil Galea Fish Hook Small 30cm/11 6/8"
71. | Yasargil Galea Fish Hook 41cm/16 1/8"
72. | Humby Knives Skingraft Blades 160mm, 50/box
73. | Catheter Introducer 390mm
74. | Bonney Myomectomt Clamp
75. | Pratt Rectal Speculum 25x 80mm, 20cm
76. | Instrument Rubricant 100ml
77. | Omni- Tract with Accessories: 1 x Fastsystem sterile field post 1 x Standard wishbone assembly 8 x Snap clamp assembly 1 x Hinged extension arm 2 x Mayo swivel retractor, 2.75" x 2" (7 cm x 5 cm)
1 x Fence swivel retractor, 4" x 6" (10.2 cm x 15.2 cm) 1 x Splanchnic swivel retractor, 2" x 6" (5 cm x 15.2 cm) 1 x Deaver swivel retractor, 2.75" x 4.5" (7 cm x 11.4 cm) 1 x Malleable slotted swivel retractor, 2" x 6.5" (5 cm x 16.5 cm) 1 x Malleable slotted swivel retractor, 3" x 6.5" (7.6 cm x 16.5 cm) 1 x Harrington Sweetheart swivel retractor, 2" x 5" (5 cm x 12.7 cm) 1 x Kelly mod swivel retractor, 3" x 2.5" (7.6 cm x 6.4 cm) 1 x Kelly swivel retractor, 3" x 4" (7.6 cm x 10.2 cm)
78. | Dental Wires 0.016" (0.406mm) roll
79. | Dental Wires 0.018" (0.457mm) roll
80. | Dental Wires 0.020 (0.508mm) roll
81. | Vascular Instrument Set: 1 x Potts-Smith vascular scissors pt./pt., 19cm/7½", 25° angled, SC/TC 1 x Potts-Smith vascular scissors pt./pt., 19cm/7½", 40° angled, SC/TC 1 x Potts-Smith vascular scissors pt./pt., 19cm/7½", 60° angled, SC/TC 1 x De Bakey atraumatic forceps 16cm/6½", straight, 1,5mm width 1 x De Bakey atraumatic forceps 20cm/8", straight, 1,5mm width
1 x DeBakey atrau fcps. 1.5/2.5 24cm/9½" str 1 x McIndoe forceps serrated 15cm/6" 1 x McIndoe forceps 1x2 teeth mouth piece cross serrated 5 x Heiss hemost.fcps.sl.curved 20cm/8" 1 x Negus adenoid curette, cvd., size 1 1 x Negus adenoid curette, cvd., size 2 1 x Negus adenoid curette, cvd., size 3 1 x Negus adenoid curette, cvd., size 4 1 x Negus adenoid curette, cvd., size 5 5 x Halsted micro mosquit.fcps.str.12,5cm/5" 1 x Mayo safety pin 14cm/5½" 1 x Crafoord Sellors clamp 90° cvd 24cm 1 x Crafoord Sellors clamp st.cvd. 24cm 1 x Crafoord Sellors clamp l.cvd. 24cm 1 x Crafoord bronchus clamp 1 x Satinsky vascular scissors 18cm 1 x Satinsky thorax scissors str. 21cm/8¼" 1 x Satinsky thorax scissors cvd. 24,5cm/9¾" 1 x DeBakey bulldog clamp atr. 80mm/3⅛" str. jaw 20mm/¾" 1 x DeBakey bulldog clamp atr. 90mm/3½" str jaw 30mm/1⅛" 1 x DeBakey bulldog clamp atr.105mm/4⅛" str. jaw 45mm/1¾" 1 x De Bakey atraumatic bulldog clamp 125mm/5", straight, jaw 1 x Cooley bulldog clamp 80mm str. jaws 20mm 1 x Cooley bulldog clamp 90mm str. jaws 30mm 1 x Cooley bulld.clamp 105mm str. jaws 45mm
2 x Potts clamp jaws atraum. 21cm half serrated, str. 1 x De Bakey Potts atraumatic coarctation clamp 21cm/8¼", straight 1 x Blalock valve hook, right angle 24cm 2 x Crile Wood needle holder 18cmTC 2 x Crile Wood needle holder 20cmTC 1 x Crile Wood needle holder 23 cm
82. | Surgical Laparoscopic Instrument Set: 1 x Veress insufflation needle 120 mm 5 x CO₂ tube set, PVC, 9 mm diameter, 3 m, sterile filter, Luer-lock connector, hydrophobic bacterial filter 2 x Metzenbaum scissors 5 mm, 310 mm 1 x Atraumatic dissecting forceps 5 mm, 310 mm 1 x Maryland dissector 5 mm, 310 mm 2 x Dorsey grasping forceps 5 mm, 310 mm 2 x Babcock grasper 5 mm, 310 mm 2 x Clinching grasper, fenestrated, 5 mm, 310 mm 1 x Aggressive graspers 5 mm, 310 mm 1 x Needle holder, self-righting, 5 mm/310 mm 1 x Needle holder, left curved, 5 mm, 310 mm 1 x Anvil grasper 10 mm, 370 mm 1 x Bipolar Metzenbaum scissors 5 mm, 310 mm 1 x Maryland grasping forceps, fenestrated, 5/310 mm, HF connection 1 x Bipolar cable 22 mm
1 x Suction/irrigation instrument, 330 mm, straight, Ø5 mm, blunt 1 x Fascial port-closure instrument 1 x Monopolar HF cable, 3.5 m 1 x Exploratory probe 5 mm, 400 mm 1 x Handle for monopolar electrodes 5 mm 4 x Ceramic electrode tip J-HK for GK372R 1pack x Cleaning brush, 10 mm diameter, 6/pack 1pack x Cleaning brush, 5 mm diameter, 6/pack 6 x Sterilit I oil spray 1 x storage rack with basket 1 x Full-size lid with retention plate, silver 1 x Bottom for 1/1 container, height 187 mm 2 x Reusable filter for container 2x Labels, any colour
83. | Laparoscopic Reusable Trocars (Trocars 110 mm Threaded): 1 x Trocar sleeve 5/110 mm threaded with tap 1 x Trocar pin conical blunt 5/110 mm 1 x Sealing unit for 5 mm trocars, pack of 20 1 x Trocar sleeve 10/110 mm threaded with tap 1 x Trocar pin conical blunt 10/110 mm 1 x Sealing unit for 10/12 mm trocars 1 x Sealing cap for 10/12 mm trocars, pack of 20 1 x Cross-slit valve for 10/12 mm trocars, pack of 20 1 x Reducing sleeve 10 mm to 5 mm 1 x Sealing cap for reducing sleeve 10/12 mm to 5 mm, pack of 20
1 x Trocar sleeve 12/110 mm threaded with tap 1 x Trocar pin conical blunt 12/110 mm 1 x Sealing unit for 10/12 mm trocars 1 x Reducing sleeve 12 mm to 10 mm and 5 mm 1 x Sealing cap for reducing sleeve 12 mm to 10 mm, pack of 20 1 x Bottom for 1/1 container, height 120 mm 1 x Full-size lid with retention plate, silver 1 x 1/1 size perforated basket, 540 × 253 × 76 mm 1 x Silicone basket liner, larger size 1 x Silicone rack for trocars, 167 × 53 mm 1 x Instrument rack type 2, 160 × 40 mm 2 x Labels, any colour
84. | Laparoscopic Reusable Trocars (Trocars 150 mm Smooth): 1 x Trocar sleeve 5/150 mm smooth with tap 1 x Trocar pin conical blunt 5/150 mm 1 x Sealing unit for 5 mm trocars, pack of 20 1 x Trocar sleeve 10/150 mm smooth with tap 1 x Trocar pin conical blunt 10/150 mm 1 x Sealing unit for 10/12 mm trocars 1 x Sealing cap for 10/12 mm trocars, pack of 20 1 x Cross-slit valve for 10/12 mm trocars, pack of 20 1 x Reducing sleeve 10 mm to 5 mm 1 x Sealing cap for reducing sleeve 10/12 mm to 5 mm, pack of 20 1 x Trocar sleeve 12/150 mm smooth with tap
1 x Trocar pin conical blunt 12/150 mm 1 x Sealing unit for 10/12 mm trocars 1 x Reducing sleeve 12 mm to 10 mm and 5 mm 1 x Sealing cap for reducing sleeve 12 mm to 10 mm, pack of 20 1 x Bottom for 1/1 container, height 120 mm 1 x Full-size lid with retention plate, silver 1 x 1/1 size perforated basket, 540 × 253 × 76 mm 1 x Silicone basket liner, larger size 1 x Silicone rack for trocars, 167 × 53 mm 1 x Instrument rack type 2, 160 × 40 mm 2 x Labels, any colour
WINDHOEK CENTRAL HOSPITAL - CSSD clinical items
1. | 3.5mm Cortex Screws, Self-Tapping L12
2. | 3.5mm Cortex Screws, Self-Tapping L14
3. | 3.5mm Cortex Screws, Self-Tapping L16
4. | 3.5mm Cortex Screws, Self-Tapping L18
5. | DCP Small Plate, 3.5mm 6 holes
6. | DCP Small Plate , 3.5mm 8 holes
7. | DCP Small Plate, 3.5mm 10holes
8. | Kirschner Wires, both sides trocar tip dia.1.6mm Length 160mm
9. | Kirschner Wires , both sides trocar tip, dia 2.0mm, length 160mm
10. | Kirschner Wire , both sides trocar tip, dia.1.6mm Length 310mm
11. | Kirschner Wire , both sides trocar tip, dia 2.0mm Length 310mm
12. | Washers ( for 3.5mm screws)
13. | Washers ( for 4.0mm screws)
14. | Hohmann Retractor narrow tip 27.5cm/10 7/8"
15. | Hohmann Retractor narrow tip 21.5cm/8 4/8"
16. | DHS/DCS Impactor for one-step insertion technique length 260mm
17. | Sternum Saw Blade Recip. 34mm/7.5mm/0.7mm
18. | Sternum Saw Blade Rapid Action. 50mm/40mm/0.7mm/0.9mm
19. | Sternum Saw Blade Rapid Action 35mm/75mm/0.9mm
20. | Sagittal Blade 25mmx90mmx1.27mm (5 /pack)
21. | Sagittal Blade 19mmx90mmx1.27mm (5 /pack)
22. | Sagittal Blade 10mmx2mm5x0.60mm ( 5/pack)
23. | Sagittal Blade 10mmx35mmx0.60mm (5/pack)
24. | Sagittal Blade 6.4mmx22mmx0.70mm (5 /packs)
25. | Suction Unit Portable Hand
26. | Disposable Vaginal Specullum ,Small
27. | Disposable Vaginal Specullum ,Medium
28. | Disposable Vaginal Specullum , Large
29. | Cleaning hard nylon Blushes small 270x65x8 (mm) 10/pack
30. | Cleaning hard nylon Blushes 210x95 (mm )10/pack
31. | Cotton Pipe Cleaner 27cm, Autoclavable 100/pack
32. | Tracheostomy Tape 20m, roll, non-sterile
33. | UBT-2 Ellavi Uterine Balloon Tamponade (25/pack)
34. | Hip Drape Pockets 290x320 6ѕ
35. | Lower Extremity Drape Reinforced 245x320 (10x7)
36. | Pulsavac + Hip Kit (10/box)
37. | Brownes TST Strips 134°c 3.5MI 100/Box
38. | Brownes TST Bowie Dick Test pack 20's
39. | Disposable Surgical Sterile Gowns Large
40. | ICD Drain Bottles Paediatric
41. | Sensomedics Cap & Diaphragm Sensomedics Oscillator
42. | Infant ventilator circuit (>4L/min) single heated with MR 290 auto feed chamber 10/b
43. | Neonatal CPAP Humidification 30/box
44. | Infant Flow LP CPAP Generator Set
45. | Infant Flow LP Nasal Mask- Small
46. | Adult Dead Space 25ml, adjustable
47. | Paediatric Dead Space 13ml , adjustable
48. | 2000ml Medical Suction Vacuum Bottle (2000ml polysulfone medical suction vacuum collection jar comes complete with a top cap assembly and internal overflow safety valve, fully compatible with Gabler systems)
49. | 1500ml Medical Suction Vacuum Bottle (1500ml polysulfone medical suction vacuum collection jar comes complete with a top cap assembly and internal overflow safety valve, fully compatible with Gabler systems)
50. | Broncho-Catheter Mall CH35 Left
51. | Broncho-Catheter Mall CH37 Left
52. | Broncho-Catheter Mall CH39 Left
53. | Broncho-Catheter Mall CH41 Left
54. | XL 200 Chest Drain Paediatric Sinapi
55. | XL 1000S-01 Chest Drain Long Tube Sinapi 1000ml
56. | Nasal Oxygen Cannula Paediatric
57. | Nasal Oxygen Cannula Neonatal, soft tip
58. | Doyen Retractors, 53x80mm,25cm
59. | Forceps Artery Criles Curved 16 cm
60. | Forceps Artery Rochester Pean Curved 18.5cm
61. | Forceps Artery Mosquito Strait 12.5cm
62. | Forceps Artery Mosquito curved 12.5cm
63. | Forceps Artery Rochester Pean Straight 18.5cm
64. | Mayo Scissors Straight 17cm T.C
65. | Gillies Dissecting Forceps 1x2 teeth 15cm
66. | Dissecting Forceps Atraugrip 18cm
67. | Sharptome Angled Bevel-up (6/box)
68. | Micro Knife 15 degree (6/box)
69. | Sharptome Straight (6/box)
70. | Slit Knife 2.75mm Angled (6/box)
71. | Retractor Langenbeck 20x60mm
72. | Gillies Dissecting Forceps 1x2 teeth 15cm
73. | Drake Depressor Skull Elevator 30cm
74. | Dural Hook Cairns Sharp 12.5cm
75. | Potts Aorta Clamps length 50mm, jaw length 23mm weight 1.5 gr
76. | Potts Aorta Clamps length 40mm, jaw length 14mm weight 1 gr
77. | Forester Sponge Holding Forceps 25cm straight
78. | Gillies Skin Hook sharp tip 17cm
79. | Cairns Giggle Saw Guide 32cm
80. | Retractor Kilner Cats paw double ended 15cm
81. | Bone Levers Tretchowans
82. | Boyle-Davis Gag Frame Child
83. | Boyle-Davis Gag Frame Adult
84. | Mouth Gag Fergusson-Ackland Adult
85. | Yasargil Galea Fish Hook Small 30cm/11 6/8"
86. | Yasargil Galea Fish Hook 41cm/16 1/8"
87. | Humby Knives Skingraft Blades 160mm, 50/box
88. | Catheter Introducer 390mm
89. | Bonney Myomectomt Clamp
90. | Pratt Rectal Speculum 25x 80mm, 20cm
91. | Instrument Rubricant 100ml
92. | Omni- Tract with Accessories: 1 x Fastsystem sterile field post 1 x Standard wishbone assembly 8 x Snap clamp assembly 1 x Hinged extension arm 2 x Mayo swivel retractor, 2.75" x 2" (7 cm x 5 cm) 1 x Fence swivel retractor, 4" x 6" (10.2 cm x 15.2 cm) 1 x Splanchnic swivel retractor, 2" x 6" (5 cm x 15.2 cm) 1 x Deaver swivel retractor, 2.75" x 4.5" (7 cm x 11.4 cm) 1 x Malleable slotted swivel retractor, 2" x 6.5" (5 cm x 16.5 cm) 1 x Malleable slotted swivel retractor, 3" x 6.5" (7.6 cm x 16.5 cm) 1 x Harrington Sweetheart swivel retractor, 2" x 5" (5 cm x 12.7 cm) 1 x Kelly mod swivel retractor, 3" x 2.5" (7.6 cm x 6.4 cm) 1 x Kelly swivel retractor, 3" x 4" (7.6 cm x 10.2 cm)
93. | Orthopaedic Charnley Tray: 1 x Joint capsule scissors 1 x Flat, straight chisel, 16mm 1 x Flat, curved chisel, 16mm 1 x Double curved gouge, 9mm 1 x Chisel for cup extraction, 7.5mm 1 x Small curette, 9mm 1 x Medium curette, 13mm 1 x Large curette, 27mm 2 x Retractors, 24mm 1 x Retractor, 43mm 1 x Retractor, 18mm 1 x Femur retractor 1 x Retractor, 40mm 1 x Retractor, 22mm, with insert hole 1 x Retractor, 43mm 1 x Femoral retractor, 26mm 1 x Weight 1 x Hanger for weight
94. | Craniofix 2 Titanium Clamp 11mm (X12)
95. | Craniofix 2 Titanium Clamp 16mm (X6)
96. | Craniofix 2 Titanium Clamp 20mm (X6)

## Price Schedule
G/ONB/1303WS-21/2026 PRICE SCHEDULE
Line Item No. | Description of Goods and related services | Qty | UMO | Unit price Excl VAT | Total Price per line item Excl VAT (Col. 35) | VAT payable per line item | Total Price Inc. VAT (Col. 6+7)
INTERMEDIATE HOSPITAL KATUTURA CLINICAL ITEMS
1. | 3.5mm Cortex Screws, Self-Tapping L12 | 300 | Each
2. | 3.5mm Cortex Screws, Self-Tapping L14 | 300 | Each
3. | 3.5mm Cortex Screws, Self-Tapping L16 | 300 | Each
4. | 3.5mm Cortex Screws, Self-Tapping L18 | 300 | Each
5. | D CP Small Plate, 3.5mm 6 holes | 100 | Each
6. | D CP Small Plate , 3.5mm 8 holes | 100 | Each
7. | D CP Small Plate, 3.5mm 10holes | 100 | Each
8. | Kirschner Wires, both sides trocar tip dia.1.6mm Length 160mm | 200 | Each
9. | Kirschner Wires , both sides trocar tip, dia 2.0mm, length 160mm | 200 | Each
10. | Kirschner Wire , both sides trocar tip, dia.1.6mm Length 310mm | 200 | Each
11. | Kirschner Wire , both sides trocar tip, dia 2.0mm Length 310mm | 200 | Each
12. | W ashers ( for 3.5mm screws) | 200 | Each
13. | W ashers ( for 4.0mm screws) | 100 | Each
14. | Hohmann Retractor narrow tip 27.5cmx10 mm 7/8 | 5 | Each
15. | Hohmann Retractor narrow tip 21.5cmx8 mm 4/8 | 5 | Each
16. | DHS/DCS Impactor for one-step insertion technique, length 260mm | 5 | Each
17. | S uction Unit Portable Hand | 50 | Each
18. | D isposable Vaginal Specullum ,Small | 1000 | Each
19. | D isposable Vaginal Specullum ,Medium | 3000 | Each
20. | D isposable Vaginal Specullum , Large | 2000 | Each
21. | Cleaning hard nylon Blushes small 270x65x8mm 10/pack | 20 | 10 per pack
22. | Cleaning hard nylon Blushes 210x95mm 10/pack | 20 | 10 per pack
23. | Cotton Pipe Cleaner 27cm, Autoclavable 100/pack | 20 | 100 per pack
24. | UBT-2 Ellavi Uterine Balloon Tamponade (25/pack) | 2 | 25 per pack
25. | H ip Drape Pockets 290x320 6ѕ | 50 | 6 per pack
26. | Lower Extremity Drape Reinforced 245x320 (10x7) | 50 | Each
27. | Brownes TST Strips 134°c 3.5MI 100/Box | 100 | 100 per Box
28. | B rownes TST Bowie Dick Test pack 20's | 30 | 20 per pack
29. | Disposable Surgical Sterile Gowns size: Large | 5000 | Each
30. | I CD Drain Bottles Paediatric | 200 | Each
31. | Sensomedics Cap & Diaphragm Sensomedics Oscillator | 30 | Each
32. | Infant ventilator circuit (>4L/min) single h eated with MR 290 auto feed chamber 10/box | 10 | 10 per box
33. | N eonatal CPAP Humidification 10/box | 10 | 10 per box
34. | I nfant Flow LP CPAP Generator Set | 300 | Each
35. | I nfant Flow LP Nasal Mask- Small | 100 | Each
36. | A dult Dead Space 25ml, adjustable | 100 | Each
37. | P aediatric Dead Space 13ml , adjustable | 100 | Each
38. | M edical Suction Vacuum Bottle 2000ml | 20 | Each
39. | M edical Suction Vacuum Bottle 1500ml | 20 | Each
40. | X L 200 Chest Drain Paediatric Sinapi | 100 | Each
41. | XL 1000S-01 Chest Drain Long Tube Sinapi 1000ml | 200 | Each
42. | N asal Oxygen Cannula Paediatric | 2000 | Each
43. | N asal Oxygen Cannula Neonatal, soft tip | 2000 | Each
44. | D oyen Retractors, 53x80mm,25cm | 5 | Each
45. | F orceps Artery Criles Curved 16 cm | 200 | Each
46. | Forceps Artery Rochester Pean Curved 18.5cm | 100 | Each
47. | F orceps Artery Mosquito Strait 12.5cm | 100 | Each
48. | F orceps Artery Mosquito curved 12.5cm | 100 | Each
49. | Forceps Artery Rochester Pean Straight 18.5cm | 100 | Each
50. | M ayo Scissors Straight 17cm T.C | 50 | Each
51. | M ayo Scissors Curved 17cm T.C | 50 | Each
52. | G illies Dissecting Forceps 1x2 teeth 15cm | 100 | Each
53. | D issecting Forceps Atraugrip 18cm | 100 | Each
54. | R etractor Langenbeck 20x60mm | 20 | Each
55. | G illies Dissecting Forceps 1x2 teeth 15cm | 200 | Each
56. | D rake Depressor Skull Elevator 30cm | 3 | Each
57. | D ural Hook Cairns Sharp 12.5cm | 20 | Each
58. | Potts Aorta Clamps length 50mm, jaw length 23mm weight 1.5 gr | 20 | Each
59. | Potts Aorta Clamps length 40mm, jaw length 14mm weight 1 gr | 20 | Each
60. | Forester Sponge Holding Forceps 25cm straight | 50 | Each
61. | G illies Skin Hook sharp tip 17cm | 30 | Each
62. | C airns Giggle Saw Guide 32cm | 10 | Each
63. | Retractor Kilner Cats paw double ended 15cm | 50 | Each
64. | BALFOUR Abdominal Retractor, complete retractor,250mm, w indth:200mm, opening width,255mm, side blades: lateral 105mm, center blade107x59mm | 5 | Each
65. | B one Levers Tretchowans | 20 | Each
66. | R etractor Morris 70x40mm | 10 | Each
67. | R etractor Morris 70x50mm | 10 | Each
68. | Obstetric Forceps Wrighley 1/3, 250mm, 10" | 10 | Each
69. | M outh Gag Fergusson-Ackland Adult | 30 | Each
70. | Yasargil Galea Fish Hook Small 30cm/11 6/8" | 50 | Each
71. | Y asargil Galea Fish Hook 41cm/16 1/8" | 50 | Each
72. | Humby Knives Skingraft Blades 160mm, 50/box | 5 | 50 per Box
73. | C atheter Introducer 390mm | 50 | Each
74. | B onney Myomectomt Clamp | 2 | Each
75. | P ratt Rectal Speculum 25x 80mm, 20cm | 5 | Each
76. | I nstrument Rubricant 100ml | 10 | Each
77. | Omni- Tract with Accessories: 1 x Fastsystem sterile field post 1 x Standard wishbone assembly 8 x Snap clamp assembly 1 x Hinged extension arm | 1 | Each
2 x Mayo swivel retractor, 2.75" x 2" (7 cm x 5 cm) 1 x Fence swivel retractor, 4" x 6" (10.2 cm x 15.2 cm) 1 x Splanchnic swivel retractor, 2" x 6" (5 cm x 15.2 cm) 1 x Deaver swivel retractor, 2.75" x 4.5" (7 cm x 11.4 cm) 1 x Malleable slotted swivel retractor, 2" x 6.5" (5 cm x 16.5 cm) 1 x Malleable slotted swivel retractor, 3" x 6.5" (7.6 cm x 16.5 cm) 1 x Harrington Sweetheart swivel retractor, 2" x 5" (5 cm x 12.7 cm) 1 x Kelly mod swivel retractor, 3" x 2.5" (7.6 cm x 6.4 cm) 1 x Kelly swivel retractor, 3" x 4" (7.6 cm x 10.2 cm)
78. | D ental Wires 0.016" (0.406mm) roll | 10 | Each
79. | D ental Wires 0.018" (0.457mm) roll | 10 | Each
80. | D ental Wires 0.020 (0.508mm) roll | 10 | Each
81. | Vascular Instrument Set: 1 x Potts-Smith vascular scissors pt./pt., 19cm/7½", 25° angled, SC/TC 1 x Potts-Smith vascular scissors pt./pt., 19cm/7½", 40° angled, SC/TC 1 x Potts-Smith vascular scissors pt./pt., 19cm/7½", 60° angled, SC/TC 1 x De Bakey atraumatic forceps 16cm/6½", straight, 1,5mm width 1 x De Bakey atraumatic forceps 20cm/8", straight, 1,5mm width 1 x DeBakey atrau fcps. 1.5/2.5 24cm/9½" str 1 x McIndoe forceps serrated 15cm/6" 1 x McIndoe forceps 1x2 teeth mouth piece cross serrated 5 x Heiss hemost.fcps.sl.curved 20cm/8" 1 x Negus adenoid curette, cvd., size 1 1 x Negus adenoid curette, cvd., size 2 1 x Negus adenoid curette, cvd., size 3 1 x Negus adenoid curette, cvd., size 4 1 x Negus adenoid curette, cvd., size 5 | 2 | Each
5 x Halsted micro mosquit.fcps.str.12,5cm/5" 1 x Mayo safety pin 14cm/5½" 1 x Crafoord Sellors clamp 90° cvd 24cm 1 x Crafoord Sellors clamp st.cvd. 24cm 1 x Crafoord Sellors clamp l.cvd. 24cm 1 x Crafoord bronchus clamp 1 x Satinsky vascular scissors 18cm 1 x Satinsky thorax scissors str. 21cm/8¼" 1 x Satinsky thorax scissors cvd. 24,5cm/9¾" 1 x DeBakey bulldog clamp atr. 80mm/3⅛" str. jaw 20mm/¾" 1 x DeBakey bulldog clamp atr. 90mm/3½" str jaw 30mm/1⅛" 1 x DeBakey bulldog clamp atr.105mm/4⅛" str. jaw 45mm/1¾" 1 x De Bakey atraumatic bulldog clamp 125mm/5", straight, jaw 1 x Cooley bulldog clamp 80mm str. jaws 20mm
1 x Cooley bulldog clamp 90mm str. jaws 30mm 1 x Cooley bulld.clamp 105mm str. jaws 45mm 2 x Potts clamp jaws atraum. 21cm half serrated, str. 1 x De Bakey Potts atraumatic coarctation clamp 21cm/8¼", straight 1 x Blalock valve hook, right angle 24cm 2 x Crile Wood needle holder 18cmTC 2 x Crile Wood needle holder 20cmTC 1 x Crile Wood needle holder 23 cm
82. | Surgical Laparoscopic Instrument Set: 1 x Veress insufflation needle 120 mm 5 x CO₂ tube set, PVC, 9 mm diameter, 3 m, sterile filter, Luer-lock connector, hydrophobic bacterial filter 2 x Metzenbaum scissors 5 mm, 310 mm | 2 | Each
1 x Atraumatic dissecting forceps 5 mm, 310 mm 1 x Maryland dissector 5 mm, 310 mm 2 x Dorsey grasping forceps 5 mm, 310 mm 2 x Babcock grasper 5 mm, 310 mm 2 x Clinching grasper, fenestrated, 5 mm, 310 mm 1 x Aggressive graspers 5 mm, 310 mm 1 x Needle holder, self-righting, 5 mm/310 mm 1 x Needle holder, left curved, 5 mm, 310 mm 1 x Anvil grasper 10 mm, 370 mm 1 x Bipolar Metzenbaum scissors 5 mm, 310 mm 1 x Maryland grasping forceps, fenestrated, 5/310 mm, HF connection 1 x Bipolar cable 22 mm 1 x Suction/irrigation instrument, 330 mm, straight, Ø5 mm, blunt
1 x Fascial port-closure instrument 1 x Monopolar HF cable, 3.5 m 1 x Exploratory probe 5 mm, 400 mm 1 x Handle for monopolar electrodes 5 mm 4 x Ceramic electrode tip J-HK for GK372R 1pack x Cleaning brush, 10 mm diameter, 6/pack 1pack x Cleaning brush, 5 mm diameter, 6/pack 6 x Sterilit I oil spray 1 x Storage rack with basket 1 x Full-size lid with retention plate, silver 1 x Bottom for 1/1 container, height 187 mm 2 x Reusable filter for container 2x Labels, any colour
83. | Laparoscopic Reusable Trocars ( Trocars 110 mm Threaded): | 2 | Each
1 x Trocar sleeve 5/110 mm threaded with tap 1 x Trocar pin conical blunt 5/110 mm 1 x Sealing unit for 5 mm trocars, pack of 20 1 x Trocar sleeve 10/110 mm threaded with tap 1 x Trocar pin conical blunt 10/110 mm 1 x Sealing unit for 10/12 mm trocars 1 x Sealing cap for 10/12 mm trocars, pack of 20 1 x Cross-slit valve for 10/12 mm trocars, pack of 20 1 x Reducing sleeve 10 mm to 5 mm 1 x Sealing cap for reducing sleeve 10/12 mm to 5 mm, pack of 20 1 x Trocar sleeve 12/110 mm threaded with tap 1 x Trocar pin conical blunt 12/110 mm 1 x Sealing unit for 10/12 mm trocars
1 x Reducing sleeve 12 mm to 10 mm and 5 mm 1 x Sealing cap for reducing sleeve 12 mm to 10 mm, pack of 20 1 x Bottom for 1/1 container, height 120 mm 1 x Full-size lid with retention plate, silver 1 x 1/1 size perforated basket, 540 × 253 × 76 mm 1 x Silicone basket liner, larger size 1 x Silicone rack for trocars, 167 × 53 mm 1 x Instrument rack type 2, 160 × 40 mm 2 x Labels, any colour
84. | Laparoscopic Reusable Trocars (Trocars 150 mm Smooth): 1 x Trocar sleeve 5/150 mm smooth with tap 1 x Trocar pin conical blunt 5/150 mm | 2 | Each
1 x Sealing unit for 5 mm trocars, pack of 20 1 x Trocar sleeve 10/150 mm smooth with tap 1 x Trocar pin conical blunt 10/150 mm 1 x Sealing unit for 10/12 mm trocars 1 x Sealing cap for 10/12 mm trocars, pack of 20 1 x Cross-slit valve for 10/12 mm trocars, pack of 20 1 x Reducing sleeve 10 mm to 5 mm 1 x Sealing cap for reducing sleeve 10/12 mm to 5 mm, pack of 20 1 x Trocar sleeve 12/150 mm smooth with tap 1 x Trocar pin conical blunt 12/150 mm 1 x Sealing unit for 10/12 mm trocars 1 x Reducing sleeve 12 mm to 10 mm and 5 mm 1 x Sealing cap for reducing sleeve 12 mm to 10 mm, pack of 20
1 x Bottom for 1/1 container, height 120 mm 1 x Full-size lid with retention plate, silver 1 x 1/1 size perforated basket, 540 × 253 × 76 mm 1 x Silicone basket liner, larger size 1 x Silicone rack for trocars, 167 × 53 mm 1 x Instrument rack type 2, 160 × 40 mm 2 x Labels, any colour
WINDHOEK CENTRAL HOSPITAL - CSSD clinical items
1. | 3.5mm Cortex Screws, Self-Tapping L12 | 300 | Each
2. | 3.5mm Cortex Screws, Self-Tapping L14 | 300 | Each
3. | 3.5mm Cortex Screws, Self-Tapping L16 | 300 | Each
4. | 3.5mm Cortex Screws, Self-Tapping L18 | 300 | Each
5. | DCP Small Plate, 3.5mm 6 holes | 100 | Each
6. | DCP Small Plate , 3.5mm 8 holes | 100 | Each
7. | DCP Small Plate, 3.5mm 10holes | 100 | Each
8. | Kirschner Wires, both sides trocar tip dia.1.6mm Length 160mm | 200 | Each
9. | Kirschner Wires , both sides trocar tip, dia 2.0mm, length 160mm | 200 | Each
10. | Kirschner Wire , both sides trocar tip, dia.1.6mm Length 310mm | 200 | Each
11. | Kirschner Wire , both sides trocar tip, dia 2.0mm Length 310mm | 200 | Each
12. | Washers ( for 3.5mm screws) | 200 | Each
13. | Washers ( for 4.0mm screws) | 100 | Each
14. | Hohmann Retractor narrow tip 27.5cm/10 7/8" | 10 | Each
15. | Hohmann Retractor narrow tip 21.5cm/8 4/8" | 10 | Each
16. | DHS/DCS Impactor for one-step insertion technique length 260mm | 5 | Each
17. | Sternum Saw Blade Recip. 34mm/7.5mm/0.7mm | 30 | Each
18. | Sternum Saw Blade Rapid Action. 50mm/40mm/0.7mm/0.9mm | 10 | Each
19. | Sternum Saw Blade Rapid Action 35mm/75mm/0.9mm | 10 | Each
20. | Sagittal Blade 25mmx90mmx1.27mm (5 /pack) | 1 | 5 per pack
21. | Sagittal Blade 19mmx90mmx1.27mm (5 /pack) | 1 | 5 per pack
22. | Sagittal Blade 10mmx2mm5x0.60mm ( 5/pack) | 1 | 5 per pack
23. | Sagittal Blade 10mmx35mmx0.60mm (5/pack) | 1 | 5 per pack
24. | Sagittal Blade 6.4mmx22mmx0.70mm (5 /packs) | 1 | 5 per pack
25. | Suction Unit Portable Hand | 200 | Each
26. | Disposable Vaginal Specullum ,Small | 1000 | Each
27. | Disposable Vaginal Specullum ,Medium | 3000 | Each
28. | Disposable Vaginal Specullum , Large | 2000 | Each
29. | Cleaning hard nylon Blushes small 270x65x8 (mm) 10/pack | 20 | 10 per pack
30. | Cleaning hard nylon Blushes 210x95 (mm) 10/pack | 20 | 10 per pack
31. | Cotton Pipe Cleaner 27cm, Autoclavable 100/pack | 20 | 100 per pack
32. | Tracheostomy Tape 20m, roll, non-sterile | 30 | Each
33. | UBT-2 Ellavi Uterine Balloon Tamponade (25/pack) | 2 | 25 per pack
34. | Hip Drape Pockets 290x320 6ѕ | 50 | 6 per pack
35. | Lower Extremity Drape Reinforced 245x320 (10x7) | 50 | Each
36. | Pulsavac + Hip Kit (10/box) | 200 | 10 per box
37. | Brownes TST Strips 134°c 3.5MI 100/Box | 100 | 100 per box
38. | Brownes TST Bowie Dick Test pack 20's | 30 | 20 per pack
39. | Disposable Surgical Sterile Gowns Large | 5000 | Each
40. | ICD Drain Bottles Paediatric | 200 | Each
41. | Sensomedics Cap & Diaphragm Sensomedics Oscillator | 30 | Each
42. | Infant ventilator circuit (>4L/min) single h eated with MR 290 auto feed chamber 10/box | 100 | 10 per box
43. | Neonatal CPAP Humidification 30/box | 100 | 30 per box
44. | Infant Flow LP CPAP Generator Set | 3000 | Each
45. | Infant Flow LP Nasal Mask- Small | 1000 | Each
46. | Adult Dead Space 25ml, adjustable | 1000 | Each
47. | Paediatric Dead Space 13ml , adjustable | 1000 | Each
48. | 2000ml Medical Suction Vacuum Bottle | 20 | Each
(2000ml polysulfone medical suction vacuum collection jar comes complete with a top cap assembly and internal overflow safety valve, fully compatible with Gabler systems)
49. | 1500ml Medical Suction Vacuum Bottle (1500ml polysulfone medical suction vacuum collection jar comes complete with a top cap assembly and internal overflow safety valve, fully compatible with Gabler systems) | 20 | Each
50. | Broncho-Catheter Mall CH35 Left | 30 | Each
51. | Broncho-Catheter Mall CH37 Left | 30 | Each
52. | Broncho-Catheter Mall CH39 Left | 30 | Each
53. | Broncho-Catheter Mall CH41 Left | 30 | Each
54. | X L 200 Chest Drain Paediatric Sinapi | 100 | Each
55. | XL 1000S-01 Chest Drain Long Tube Sinapi 1000ml | 500 | Each
56. | N asal Oxygen Cannula Paediatric | 4000 | Each
57. | N asal Oxygen Cannula Neonatal, soft tip | 4000 | Each
58. | D oyen Retractors, 53x80mm,25cm | 5 | Each
59. | F orceps Artery Criles Curved 16 cm | 200 | Each
60. | Forceps Artery Rochester Pean Curved 18.5cm | 100 | Each
61. | F orceps Artery Mosquito Strait 12.5cm | 100 | Each
62. | F orceps Artery Mosquito curved 12.5cm | 100 | Each
63. | Forceps Artery Rochester Pean Straight 18.5cm | 100 | Each
64. | Mayo Scissors Straight 17cm T.C | 50 | Each
65. | G illies Dissecting Forceps 1x2 teeth 15cm | 100 | Each
66. | Dissecting Forceps Atraugrip 18cm | 100 | Each
67. | Sharptome Angled Bevel-up (6/box) | 30 | 6 Per Box
68. | Micro Knife 15 degree (6/box) | 30 | 6 Per Box
69. | Sharptome Straight (6/box) | 30 | 6 Per Box
70. | Slit Knife 2.75mm Angled (6/box) | 30 | 6 Per Box
71. | Retractor Langenbeck 20x60mm | 20 | Each
72. | Gillies Dissecting Forceps 1x2 teeth 15cm | 200 | Each
73. | Drake Depressor Skull Elevator 30cm | 3 | Each
74. | Dural Hook Cairns Sharp 12.5cm | 20 | Each
75. | Potts Aorta Clamps length 50mm, jaw length 23mm weight 1.5 gr | 20 | Each
76. | Potts Aorta Clamps length 40mm, jaw length 14mm weight 1 gr | 20 | Each
77. | Forester Sponge Holding Forceps 25cm straight | 50 | Each
78. | Gillies Skin Hook sharp tip 17cm | 30 | Each
79. | Cairns Giggle Saw Guide 32cm | 10 | Each
80. | Retractor Kilner Cats paw double ended 15cm | 50 | Each
81. | Bone Levers Tretchowans | 20 | Each
82. | Boyle-Davis Gag Frame Child | 10 | Each
83. | Boyle-Davis Gag Frame Adult | 10 | Each
84. | Mouth Gag Fergusson-Ackland Adult | 30 | Each
85. | Yasargil Galea Fish Hook Small 30cm/11 6/8" | 50 | Each
86. | Yasargil Galea Fish Hook 41cm/16 1/8" | 50 | Each
87. | Humby Knives Skingraft Blades 160mm, 50/box | 5 | 50 Per Box
88. | Catheter Introducer 390mm | 50 | Each
89. | Bonney Myomectomt Clamp | 2 | Each
90. | Pratt Rectal Speculum 25x 80mm, 20cm | 5 | Each
91. | Instrument Rubricant 100ml | 10 | Each
92. | Omni- Tract with Accessories: 1 x Fastsystem sterile field post 1 x Standard wishbone assembly 8 x Snap clamp assembly 1 x Hinged extension arm 2 x Mayo swivel retractor, 2.75" x 2" (7 cm x 5 cm) | 1 | Each
1 x Fence swivel retractor, 4" x 6" (10.2 cm x 15.2 cm) 1 x Splanchnic swivel retractor, 2" x 6" (5 cm x 15.2 cm) 1 x Deaver swivel retractor, 2.75" x 4.5" (7 cm x 11.4 cm) 1 x Malleable slotted swivel retractor, 2" x 6.5" (5 cm x 16.5 cm) 1 x Malleable slotted swivel retractor, 3" x 6.5" (7.6 cm x 16.5 cm) 1 x Harrington Sweetheart swivel retractor, 2" x 5" (5 cm x 12.7 cm) 1 x Kelly mod swivel retractor, 3" x 2.5" (7.6 cm x 6.4 cm) 1 x Kelly swivel retractor, 3" x 4" (7.6 cm x 10.2 cm)
93. | Orthopaedic Charnley Tray: 1 x Joint capsule scissors 1 x Flat, straight chisel, 16mm 1 x Flat, curved chisel, 16mm 1 x Double curved gouge, 9mm 1 x Chisel for cup extraction, 7.5mm 1 x Small curette, 9mm | 2 | Each
1 x Medium curette, 13mm 1 x Large curette, 27mm 2 x Retractors, 24mm 1 x Retractor, 43mm 1 x Retractor, 18mm 1 x Femur retractor 1 x Retractor, 40mm 1 x Retractor, 22mm, with insert hole 1 x Retractor, 43mm 1 x Femoral retractor, 26mm 1 x Weight 1 x Hanger for weight
94. | Craniofix 2 Titanium Clamp 11mm (X12) | 3 | Each
95. | Craniofix 2 Titanium Clamp 16mm (X6) | 7 | Each
96. | Craniofix 2 Titanium Clamp 20mm (X6) | 5 | Each