QUOTATION REQUEST:

DATE       19  October 2026

ATT:        SALES

TO:   	 Clinic Supplies

West Street

Houghton Estate

Johannesburg

EMAIL:	 hello@clinicsupplies.co.za

Kindly forward us an urgent quotation on the following item(s).

| CODE | DESCRIPTION | QTY | PRICE |
| --- | --- | --- | --- |
| Pulse oximeter device requirements - Handheld pulse oximeter - Portable handheld design - High-resolution colour LCD display - Plethysmography waveform display rechargeable lithium-ion battery and charger included - Backup batter capacity - Pulse strength/perfusion display - Measurement performance SpO2 Measurement range :0-100 Pulse rate Measurement range :18-300 Operating modes Spot-check monitoring mode Continuous monitoring mode - Memory - trend storage capacity - patient data storage Alarms - Audible alarms - Visual alarms - Adjustable alarms limits Probes/sensors - Adult reusable SpO2 - Pediatric reusable SpO2 - Neonatal reusable SpO2 Accessories - Rechargeable battery - Charger/docking station - Protective carry case - User manual - Power adaptor Connectivity - Data transfer capability - Patient data download and storage Recommended configuration - Adult sensor - Paediator sensor - Charger - Carry case - Training - Warranty |  | 14 |  |

Thank you for your support in this matter.

Regards,

Magriet

Sales & Orders