REQUEST FOR QUOTATION – NEEDLES


1. ITEM SPECIFICATIONS AND QUANTITIES
	Item / Code
	Description
	Quantity
	Packaging
	Colour
	Specific requirement
	Purpose

	CBH119
	Disposable spinal needle – 25G x 3½
	100 boxes
	Box/50
	Orange
	HT-1A Quinckie Point Tube
	For fluid drainage and spinal injecting

	6000062
	Vacutainer needle – 21G
	100 boxes
	Box/100
	Green
	As specified
	For checking of patients high blood pressure

	CBH118
	Needle – 16G
	20 boxes
	Box/100
	Clear
	As specified
	For emergency trolley



2. SPECIFICATION REQUIREMENTS
Disposable spinal needle: 25G x 3½, box of 50, orange in colour, HT-1A Quinckie Point Tube.
Vacutainer needle: 21G, box of 100, green in colour.
Needle: 16G, box of 100, clear in colour.
Quality standard stated in the specification forms: Good Condition.
Unit of measure / packaging: Box.
Samples are indicated as NOT required on the specification forms.
Addendum to specification: See attached.
The quotation document requires proof that the supplied items are SABS or SANS approved.
Please quote only products that comply with the stated specifications and provide manufacturer/product information where available.

3. INFORMATION TO REQUEST FROM SUPPLIER
Price per box and total price for the required quantity.
VAT amount and total price inclusive of VAT, where applicable.
Delivery charges to Catherine Booth Hospital / Kwa-Khoza Reserve, Amatikulu, KwaZulu-Natal.
Lead time and availability.
Manufacturer and brand.
Product catalogue/datasheet or technical specification.
Proof/certificate that the offered product is SABS or SANS approved, where applicable.
Quotation validity period.

